The Water We Drink

JEFF DAVIS WATER AND SEWER COMMISSION NO. 1

Public Water Supply ID:  LA 1053014

We are pleased to present to you the Annual Water Quality Report for the year 2012.  This report is designed to inform you about the quality of your water and the services we deliver to you every day (Este inform contiene informacion muy importante sobre su agua potable.  Traduzcalo o hable con alguien que lo entienda bien).  Our constant goal is to provide you with a safe and dependable supply of drinking water.  We want you to understand the efforts we make to continually improve the water treatment process and protect our water resources.  We are committed to ensuring the drinking quality of your water.  Our water source(s) are listed below:

Source Name			Source type			Source ID Number

Well #1			Ground Water			1053014-001

Well #2			Ground Water

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travel over the surface of land or through the ground, it dissolves naturally - occurring minerals and in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.  Contaminants that may be present in source water include:

Microbial Contaminants - such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations and wildlife.

Inorganic Contaminants - such as salts and metals, which can be naturally-occurring or result from urban storm water runoff, industrial, or domestic wastewater discharges, oil and gas production, mining, or farming.

Pesticides and Herbicides - which may come from a variety of sources such as agriculture, urban storm water runoff, residential uses.

Organic Chemical Contaminants - including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can, also come from gas stations, urban storm water runoff, and septic systems.

Radioactive Contaminants – which can be naturally occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems.  Food and Drug Administration regulations establish limits for contaminants in bottled water which must provide the same protection for public health.  We are pleased to report that our drinking water sis sage and meets Federal and State requirements.  We want our valued customer to be informed about their water utility.  If you have any questions about this report, want to attend any scheduled meeting, or simply want to learn more about your drinking water, please contact David Trahan at 337-587-2276

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from material and components associated with service lines and home plumbing.  Jeff Davis Water and Sewer Commission No. 1 is responsible for providing high quality drinking water, but cannot control the variety of material used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.

The Louisiana Department of Health and Hospitals - Office of Public Health routinely monitors for contaminants in your drinking water according to Federal and State laws. The tables that follow show the results of our monitoring during the period of January 1st to December 31st, 2012.  Drinking water, including bottled drinking water, may be reasonably expected to contain at least some small amounts of some contaminants. The presences of contaminants does not necessarily indicate that water poses a health risk.

In the tables below, you will find many terms and abbreviations you might not be familiar with.  To help you better understand these terms, the following definitions are provided:

Parts per million (ppm)or milligrams per liter (mg\L)  -  one part per million corresponds to one minute in two years or a single penny in $10,000.

Parts per billion (ppb) or micrograms per liter (ug\L)  -  one part per billion corresponds to one minute in 2,000 years, or a single penny in $10,000,000.

Picocuries per liter (pCi\L) - picocuries per liter is a measure of the radioactivity in water.

Nephelometric Turbidity Unit (NTU)– nephleometric turbidity unit is a measure of the clarity of water.  Turbidity in excess of 5 NTU is just noticeable to the average person.

Action Level (AL) – the concentration of a contaminant that, if exceeded, triggers treatment or other requirements that a water system must follow.

Maximum Contaminant Level (MCL)  -  the “ Maximum Allowed” MCL is the highest level of a contaminant that is allowed in drinking water.  MCL’s are set as close to the MCLG’s as feasible using the best available treatment technology.

Maximum Contaminant Level Goal (MCLG) - the “Goal” is the level of a   contaminant in drinking water below which there is no known or expected risk to human health.  MCLG’s allow for a margin of safety.

Maximum Residual Disinfectant Level (MRDL) – the highest level of a disinfectant allowed in drinking water.  There is convincing evidence that addition of disinfectant is necessary for control of microbial contaminants.

Maximum Residual Level Goal (MRDLG) - the level of a drinking water disinfectant below which there is no known or expected risk to health.  MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contamination.

During the period covered by this report we had the below noted violations of drinking water regulations.

Type	Categorgy                                Analyte                      Compliance Period

No Violations Occurred in the Calendar Year 2012

Our water system a minimum of 9 samples per month monthly sample(s) in accordance with the Total Coliform Rule for microbiological contaminants.  During the monitoring period covered by this report, we had the following noted detections for microbiological contaminants:

Microbiogical		Result			MCL		MCLG		Typical Source

Coliform	    In the month of 	      MCL:Systems	     0		Naturally present

(TCR)		    October, 1 samples(s) 	      that Collect Less			       in the

Returned positive	      Than 40 samples per 			  environment

Month- No more than

1 positive monthly sample

In the tables below, we have shown the regulated contaminants that were detected. Chemical Sampling of our drinking water may not be required on an annual basis; therefore, information provided in this table refers back to the latest year of chemical sampling results.

Regulated	Collection	Highest		Range	Unit	MCL	MCLG		Typical

Contaminants	Date		Value							Source

DI(2-		05/10/2010	2.62		2.07-	ppb	6	0	Discharged from

Ethylhexyl)                                                                    2.62				rubber and chemical

Phthalate                                                     						factories

Fluoride		05/10/2010	0.1		0.1	ppm	4	4	Erosion of natural

Deposits; Water

Additive which

Promotes strong

Teeth; Discharge

From fertilizer and

Aluminum factories

Lead and	Date	      90th		Range		Unit	AL	Site		Typical

Copper			   Percentile				Over       AL	                Source

COPPER,      2009-2011	        0.2		   0.2		ppm	1.3	0                 Corrosion of

FREE										    household

plumbing systems;		                                                Erosion of natural

Deposits: Leaching

From wood             preservatives

LEAD            2009-2011	         1		1-6	                  ppb	15  	0             Corrosion of household

Plumbing systems;

Erosion of natural

Deposits.

DBP	                        Monitoring             RAA           Range           Unit        MCL       MCLG		Typical

Contaminants                Period                                                                                                                             Source

TOTAL 		   1/1/2012-	         9.52              9.52              ppb	   60	       0	     By-product of

HALOACETIC         12/31/2012							     drinking water

ACIDS (HAAH)									     disinfection

TTHM		   1/1/2012-	        43.03	43.03	   ppb	     80	        0	     By-product of

12/31/12							     drinking water

chlorination

+ + + + + +Environmental Protection Agency Required Health Language+ + + + + +

Some people may be more vulnerable to contaminants drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone transplants, people with HIV\AIDS or other immune system disorders, some elderly, and infants can be particularly at risk for infections.  These people should seek advice about drinking water from their health care providers.  EPA\CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbiological contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

Additional Required Health Effects Language

Coliforms are bacteria that are naturally present in the environment and are used as an indicator that other, potentially-harmful, bacteria may be present.  Coliforms were found in more samples than allowed and this was a warning of potential problems.

There are no additional required health effects violation notices

Thank you for allowing us to continue providing your family with clean, quality drinking water this year.  In order to maintain a safe and dependable water supply we sometimes need to make improvements that will benefit all of our customers.

We at the Jeff Davis Water and Sewer Commission No. 1 water system work around the clock to provide top quality drinking water to every tap.  We ask that all our customers help us protect and conserve our water sources, which are the heart of community, our way of life, and our children’s future. We will not send each customer a copy of this report.  If a customer would like a copy of this report you can go to www.jdwc1.com.  Please call our office if you have questions.